P R O F O R M A

Request for Market Information (“RFI”) for 
Supply and Installation of Stainless Steel Rack in cold room

to The Chinese Medicine Hospital of Hong Kong (“CMHHK”)

To : 	Project Director (CMHPO)

(Attn. Ms Wing LI, EM(CMHPO)1B)

### [by fax: 2127 4795 or email: wlfli@healthbureau.gov.hk]

In response to the RFI of the CMHHK, my/our company, with contact details provided in Part 1 below, would like to provide the information and relevant supporting documents in Parts 2 to 9 of this Proforma.

Part 1 – Supplier’s Contact Details

From:

(Name of the Supplier): _______________________________________________________

(please fill in)

Name and Post of Contact person: _______________________________________________

(please fill in)

Email:___________________________       Telephone no.:________________________

(please fill in)					   (please fill in)

### -----------------------------------------------------------------------------------------------------------------

This document does not constitute any offer or invitation / solicitation of any offer in connection with the exercise described herein.  Neither this document nor any activities in connection therewith shall create any legal obligations or liabilities in any way on the part of the Health Bureau (HHB) or the Government of Hong Kong Special Administrative Region.  Neither this document nor anything contained herein shall form the basis of any contract or commitment whatsoever.  In responding to the RFI, a respondent shall be deemed to have agreed to all the terms of this Request for Market Information.

Purpose and Background Information of the RFI

- Purpose

## Chinese Medicine Hospital Project Office (“CMHPO”) of the Health Bureau (“HHB”) of the Government intends to invite a tender for the supply and installation of Stainless Steel Rack in cold room (hereinafter refers as the “Goods”) for the Chinese Medicine Hospital of Hong Kong (“CMHHK”) located at 1 Pak Shing Kok in Tseung Kwan O, New Territories, Hong Kong.  The CMHPO therefore wishes to collect market information on this Goods.

- Background of the CMHHK Project

## The Chief Executive announced in the 2014 Policy Address that the Government had decided to reserve a site in Tseung Kwan O for setting up a CMHHK. The 2017 Policy Address stated that the Government decided to finance the construction of the CMHHK and identify by way of tender a suitable non-profit-making organisation (“NPMO”) to operate the CMHHK.  CMHHK will be owned by the Government and the selected NPMO will operate the CMHHK.  The CMHHK would be positioned as a flagship Chinese Medicine (“CM”) institution leading the development of CM services and Chinese medicines in Hong Kong. It will be a change driver, promoting service development, education and training, innovation and research, and facilitating collaboration with both local and international parties.

## The CMHHK with provision of 400 beds will provide a comprehensive range of CM services. Service types include pure CM services, services with CM playing the predominant role in collaboration with Western Medicine (“WM”) and Integrated Chinese-Western Medicine (“ICWM”) services. The scope of service to be provided in the CMHHK covers inpatient, day-patient, outpatient and community outreach services.

## To take forward the planning and development of the project on CMHHK, a designated office i.e. CMHPO, was established under the Health Bureau (the former Food and Health Bureau) on 2 May 2018.  Hong Kong Baptist University (HKBU) was selected as the Contractor for the CMHHK operation. HKBU, as the Contractor, has incorporated a company limited by guarantee, namely HKBU Chinese Medicine Hospital Company Limited as the Operator to manage, operate and maintain the CMHHK.  The CMHHK project has proceeded to the commissioning stage in 2021. It is targeted to commence hospital services by phases from 2025.

## More information on the services provision and design of the CMHHK can be found in the following link:

## https://www.healthbureau.gov.hk/en/press_and_publications/otherinfo/200900_cmhp/index.html

Note to Suppliers

- If your company have more than one scrubbers that may meet the requirements of the Goods stated in this Proforma, please complete and return, together with relevant supporting documents, one set of Proforma for each different Stainless Steel Rack in cold room.

Part 2 – General Information of the Goods

| - Place of origin |  |
| --- | --- |
| - Name of manufacturer |  |
| - Address of the manufacturer’s factory or plant (“Manufacturing Plant”) |  |
| - Product name of the Goods |  |
| - Model number/ name/ version number of the Goods |  |
| - Authorised agent or distributor of the manufacturer in Hong Kong |  |
| - Packing (if applicable) |  |
| - Delivery method and route (where the place of origin is outside Hong Kong) |  |
| - Warranty period of the Goods (Please refer to section F in Part 3 for details of the warranty service requirements) | ____________ months from Acceptance of the Goods (Should not be less than 12 months) |
| - Expected serviceable life (Please specify any components of the Goods that cannot meet the serviceable life) | The Goods shall have a serviceable life of _______ years from its date of acceptance except the following components: ____________________________________ (Please also provide the expected life of these excluded components) |

Part 3 – Indicative Technical Requirements

Notes to Suppliers for Completion of Part 3

- Unless specified otherwise, the “Goods” in this Part 3 refers to section A below.

- The indicative technical requirements are for the purpose of collecting market information only.  They are subject to changes and do not represent the final technical requirements of the intended tender.

- Please indicate, as a point by point compliance statement, whether your proposed Goods “Comply” or “Not Comply” with an indicative technical requirement stated in Column II by ticking () in the appropriate box under Column III and Column IV respectively.

- Where applicable, please quote the value of your proposed Goods in either Column III (if “Comply”) or Column IV (if “Not Comply”) respectively against corresponding indicative technical requirement  (use additional sheet(s) if space is insufficient

- Please provide supporting documents (such as catalogues, user manual and/or operation manual, DICOM conformance statement, etc.) to illustrate the features of your proposed baths, dry against the corresponding indicative technical requirements.

| Column I | Column II | Column III | Column IV |
| --- | --- | --- | --- |
| Section | Technical Specification | Tick () the Appropriate Box (For aspects “Not Comply”, please also provide alternative proposal, if any) |  |
|  |  | Comply | Not Comply |
| A | Functional and Performance Requirements of the Goods |  |  |
| 1 | The Goods are racks for storage as stipulated in these Technical Specifications (hereinafter refers as “Rack” or “Goods”). A total of sixteen (16) numbers of Racks shall be supplied and delivered to the CMHHK. |  |  |
| 2 | The Goods is designed to provide efficient organization and storage solutions for various laboratory items such as reagent and specimen which are stored in the 4°C cold room. |  |  |
| 3 | The Goods shall be made of stainless steel storage rack with 304 stainless steel type. |  |  |
| 4 | Each Rack shall be 4 stainless steel wire shelves of 304 type. The size is measured not exceeding 1215mm (width) x 615mm (depth). |  |  |
| 5 | Each Rack shall be 4 pieces of 304 stainless steel post, measured not exceeding 2000mm (height). |  |  |
| 6 | The Rack shall comply with 4 adjustable foot plate |  |  |
| 7 | The Rack is composed of heavy duty shelves and each layer of the Goods shall be engineered to support a uniformly distributed load capacity of at least 200kg. |  |  |
| 8 | The Goods shall feature adjustable shelf positioning mechanisms for flexible height configuration. |  |  |
| 9 | The surface of shelf shall be in wire pattern to enhance circulation of cold air amongst different layers of the rack. |  |  |
| 10 | The installation of the rack should be easy no tool assembly. |  |  |
| 11 | The Goods shall be rigid and stable, ensuring they do not overturn under any circumstances. |  |  |
| 12 | The Goods shall allow for easy access to stored items. |  |  |
| 13 | The Goods shall be compatible to common cleaning agent used in healthcare settings. |  |  |
| 14 | Overall size of each goods shall not exceed 615mm (length) x 1215mm (width) x 2000mm (height). |  |  |
| 15 | The Manufacturer shall have valid ISO 9001; 2015 or ISO 14001; 2015 (or the latest version) certification or equivalent national standard. |  |  |
| B | Delivery Requirement |  |  |
| 1 | At least thirty (30) days prior to the anticipated delivery date or as specified by the Government Representative, the potential supplier shall inform the Government Representative in writing the anticipated delivery programme for the Goods and any bulky equipment, together with the conditions of delivery, packing and necessary environment. |  |  |
| 2 | The potential supplier shall comply with all policies and laws (including regulations) of Hong Kong and the Government requirements which may affect the transportation of any equipment for the installation of the Goods. The potential supplier shall obtain all necessary official permits at its own expense before transportation of the Goods. |  |  |
| 3 | The potential supplier shall be responsible for any damage to the Government property or that of any other parties as may be caused during equipment transportation and installation. All due measures shall be taken by the potential supplier to protect such property. |  |  |
| C | Implementation/ Installation |  |  |
| 1 | The potential supplier shall be responsible to install the Goods according to recommended methods of installation and procedures. |  |  |
| 2 | The potential supplier shall install the Goods with reasonable care and skill and in accordance with generally recognized commercial practices and standard in industry for similar service. |  |  |
| 3 | The potential supplier shall protect any wall, plaster, floor, brickwork or rendering surrounding on installation site. |  |  |
| 4 | The potential supplier shall be responsible if any Goods are found to be damaged or faulty, and shall replace the Goods at his own cost. |  |  |
| 5 | The supplier shall be responsible to clear away all packing materials to a legal place after delivery / installation of the Goods at his own cost. |  |  |
| 6 | If any of the Goods shall be found defective in material or not in conformity with the descriptions and requirements of the Goods purchased, the Goods shall be rejected and returned to the potential supplier at his expense including transportation charges. |  |  |

Part 4 – Implementation Plan

(Note to Suppliers: Please provide the estimated time periods required for the completion of the following tasks, counting from the date of issue an order (“Order Date”).  Both the start and end date of the Order Date is referenced as Month 0.  The Goods should be Ready for Use in the last month of the Implementation Plan.)

| Tasks of the Implementation Plan |  | Estimated Time Period for Performing the Tasks (The Order Date is set as Month 0) |  |
| --- | --- | --- | --- |
|  |  | Start (Month) | End (Month) |
|  | #### Order Date (i.e. the date of order placed by the Government, if any) | 0 | 0 |
|  | #### Submission of Site Preparation Information (if applicable) |  |  |
|  | #### Design of the Goods (if applicable) |  |  |
|  | #### Delivery of the Goods |  |  |
|  | #### Installation of the Goods |  |  |
|  | #### Implementation Services (Please refer to section B in Part 3 for details) |  |  |
|  | #### Delivery of Documentation (Please refer to section D in Part 3 for details) |  |  |
|  | #### Training (Please refer to section C in Part 3 for Details) |  |  |
|  | #### Acceptance Tests |  |  |
|  | #### Any other tasks considered necessary by your company (Please provide details, use separate sheet if space is insufficient): |  |  |
|  | #### Goods Ready for Use (i.e. the date when the Goods has passed all acceptance tests and accepted by the Government) | 0 |  |

Part 5 – Information on Compliance with International, National and other Recognised Standards or Certifications (if applicable)

(Note to Suppliers: Please indicate in the box below whether the proposed bath, drys can meet with the standards stated in Column I by inserting a tick in an appropriate box under Column III. If your proposed bath, drys does not meet the standards stated in Column I, please indicate the equivalent standards met by your proposed bath, drys in Column IV.  In any case, please attach copies of relevant valid certificates to prove compliance with such standards.)

| Column I | Column II | Column III |  | Column IV |
| --- | --- | --- | --- | --- |
| International, National and other Recognised Standards or Certifications | Requirements | Comply with the Standard in Column I? |  | Comply with the following equivalent standard (If “No” in Column III) |
|  |  | Yes | No |  |
| Compliance with other international, national and recognised standard(s) or certification(s) in addition to the above (please specify) |  |  |  |  |

Part 6 – Information on Licencing, Marketing Authorization and MDACS Listing

(Not applicable)

(Note to Suppliers: Please advise whether your company and the proposed Goods have the following licence, marketing authorization and Medical Device Administrative Control System (“MDACS”) listing. If affirmative, please provide copies of relevant licences, confirmation and certificates for our reference.)

| Question | Licensing/Certification/Listing Information of the Goods | (Please tick in the appropriate box) |  |
| --- | --- | --- | --- |
|  |  | #Yes | No |
| ## 1 | ## Does your company have valid licence(s) to sell, deal with, possess and use irradiating apparatus in Hong Kong issued under the Radiation Ordinance (Chapter 303 of the Laws of Hong Kong) (“IA Licence”)? |  |  |
| 2 | Has the proposed Goods been listed in a valid IA Licence? |  |  |
| 3 | Dose the proposed Goods have marketing authorization of Food and Drug Administration (FDA) of the United States? |  |  |
| 4 | If the proposed Goods has marketing authorization of FDA, please specify below the type of marketing authorization (i.e. approval, clearance or exemption). _____________________ |  |  |
| 5 | Does the proposed Goods have marketing authorization of the European Union (EU) for affixing of CE marking on the product? |  |  |
| 6 | If the proposed Goods has marketing authorization of EU, please state the type of supporting document (*delete which is not applicable). - *Declaration of conformity by the manufacturer; or - *Certificate of conformity issued by a notified body. |  |  |
| 7 | Does the proposed Goods have marketing authorization in country/region other than United States and EU? Please specify below if your answer is “Yes”. Country / Region : _________________________________ |  |  |
| 8 | Has your proposed Goods been listed in the MDACS of the Department of Health? |  |  |
| 9 | What class of medical device is your proposed Goods (if applicable)? - EU : Class ______ - United States : Class ______ - Other country/region (please specify below): - Country/Region _________ - Class _________ |  |  |

#Please provide a copy of the licence/confirmation/certificate for reference.

## Part 7 – Indicative Price Information

(Note to Suppliers: The price information provided in this Part 7 is for Government’s consideration only and shall not constitute any commitment on the part of the Government or your company. Nevertheless, please provide the information as accurate as possible.)

(a) Indicative Price Information for the Goods

| Item | Description | Estimated Quantity | Unit Price | Estimated Goods Price |
| --- | --- | --- | --- | --- |
|  |  |  | One-time Unit Price (HK$) | Estimated Goods Price for the Item specified opposite (HK$) |
|  |  | (a) | (b) | (c) = (a) x (b) |
| 1 | Supply, delivery, installation, testing and commissioning of the Goods and related accessories, as more particularly specified in section A in Part 3, including the provision of a minimum 12-months warranty period. | 1 set |  | (Please also provide breakdown cost for key components of the Goods, if any) |
| 2 | Provision of implementation services as detailed in section C in Part 3 | 1 lot |  |  |
| 3 | Provision of training services as detailed in section D in Part 3 | 2 courses |  |  |
| 4 | Documentation as detailed in section E in Part 3 | 1 lot |  |  |
| 5 | Other (please specify) | (please specify) |  |  |
| Total One-time Charge* (i.e. Sum of Estimated Goods Prices of Item 1- 5) |  |  |  |  |

Note: * The Total One-time Charge shall include one-year of warranty period.

(b) Indicative Price Information for Selected Desirable Features (Not applicable)

| Aspect | Description of Selected Desirable Features | Any Additional Charge to Total One-time Charge as Specified in Part 7(a) (Please tick whichever is applicable) |
| --- | --- | --- |
| Examples: |  |  |
| 1 | The Goods shall be capable of operating continuously for the below duration with a fully charged battery without the assistance of other power supply: 1 hour < continuous operation ≤ 2 hours | □ No additional charge □ Require additional charge: HK$ _________ |
| 2 | The Goods shall be capable of operating continuously for the below duration with a fully charged battery without the assistance of other power supply: 2 hours < continuous operation ≤ 3 hours | □ No additional charge □ Require additional charge: HK$ _________ |
| 3 | The Goods shall be capable of operating continuously for the below duration with a fully charged battery without the assistance of other power supply: continuous operation > 3 hours | □ No additional charge □ Require additional charge: HK$ _________ |

## Part 8 – Indicative Maintenance Charges and Spare Parts Price

(Notes to Suppliers for completion of Part 8)

- Pursant to item 1 of Part 7(a) above, the proposed Goods shall have a warranty period of not less than 12 months. The indicative warranty service requirements are stipulated in section F in Part 3, which are subject to changes at the sole discretion of the Government.

- Indicative maintenance service requirements after the free warranty period are stipulated in section F in Part 3, which are subject to changes at the sole discretion of the Government

- It is expected that the maintenance services shall be comprehensive, all inclusive and shall cover all parts, components, labour and software support services. If your company considers that any components of the Goods may not be covered by the maintenance services (saving that the labour shall always be covered by the maintenance services) and may need to be charged separately, please indicate replacement costs of these components and their replacement frequency.

- The annual maintenance charge within the serviceable life of the proposed Goods is adjustable in accordance with the consumer price index (B) upon the expiry of each 12-months period of maintenance service.

- Indicative Maintenance Prices of the Proposed Goods

| Year | Annual Maintenance Charge (HK$ per annum) |
| --- | --- |
| First 12-months period of maintenance service after the end of warranty period |  |

- Indicative Replacement Prices of Goods’ Components not covered by the Maintenance Services (if applicable) (Leave the following table blank if not applicable)

(Note to Suppliers: The labor costs for replacement of these components shall always be covered by the maintenance charges for the provision of the maintenance services regardless whether the prices for the supply of these components are covered by the maintenance services or not.)

| Item | Name of Items | Indicative Replacement Price (HK$/no.) | Indicative Replacement Frequency (e.g. once every 3 years) |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |

- Indicative overtime charges for provision of maintenance services after office hours (if applicable)

(Office hours mean 9 am to 6 pm from Monday to Friday excluding public holidays)

| (a) | Rates of overtime charges for maintenance service outside the office hours | HK$ per hour |
| --- | --- | --- |
| (b) | Minimum service hour(s) per call | service hour(s) per call |

- Indicative Prices for Replacement of Other Spare Parts (if applicable)

| Item | Name of Items | Price (HK$/no.) | Indicative Replacement Frequency (e.g. once every 3 years) | Expected time for delivery (weeks) |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |

- Indicative Price for Annual Support Services of Software (if applicable)

(Note to Suppliers: Please provide below annual charge for support services of the Goods’ software during the serviceable life of the Goods for the CMHHK Operator’s consideration.  The support services should include but not limited to:

- provision and renewal of software toolkits, access codes, passwords, software keys and hardware keys, etc. necessary for all kinds of adjustments, in-depth diagnosis and trouble shooting of the Goods; and

- version upgrade of the software.)

|  | (a) Free of charge during serviceable life |
| --- | --- |
|  | (b) Yearly cost at $__________________ |

Part 9 – Supplementary Information

- Number of proposed Goods Already Installed (leave blank if information is not available)

          - In Hong Kong :	 __________ sets

          - Globally		: __________ sets

- Year of Launch of the Proposed Goods (leave blank if information is not available)

My/our proposed Goods was first launched in the market in Year  _____________

- Pre-Installation Requirements of the Proposed Goods (if any)

(Pre-installation requirements may include any preparation work and provisions that are necessary for the installation of the Goods, such as the requirements of ceiling mount support, power supply requirements, etc.)

END