P R O F O R M A

Request for Market Information (“RFI”) for 
Supply of Pathology Accessories

to The Chinese Medicine Hospital Hong Kong (“CMHHK”)

(CMHPO Ref.  :           )

To : 	Project Director (CMHPO)

(Attn.Tony LAM)

### [by fax: 2127 4795 or email: tcclam@healthbureau.gov.hk]

Your ref:

In response to the RFI of the CMHHK, my/our company, with contact details provided in Part 1 below, would like to provide the information and relevant supporting documents in Parts 2 to 9 of this Proforma.

Part 1 – Supplier’s Contact Details

From:

(Name of the Supplier): _______________________________________________________

(please fill in)

Name and Post of Contact person: _______________________________________________

(please fill in)

Email:___________________________       Telephone no.:________________________

(please fill in)					   (please fill in)

### -----------------------------------------------------------------------------------------------------------------

This document does not constitute any offer or invitation / solicitation of any offer in connection with the exercise described herein.  Neither this document nor any activities in connection therewith shall create any legal obligations or liabilities in any way on the part of the Health Bureau (HHB) or the Government of Hong Kong Special Administrative Region.  Neither this document nor anything contained herein shall form the basis of any contract or commitment whatsoever.  In responding to the RFI, a respondent shall be deemed to have agreed to all the terms of this Request for Market Information.

Purpose and Background Information of the RFI

- Purpose

## Chinese Medicine Hospital Project Office (“CMHPO”) of the Health Bureau (“HHB”) of the Government intends to invite a tender for the supply of pathology accessories (hereinafter refers as the “System”) for the Chinese Medicine Hospital Hong Kong (“opCMHHK”) located at Pak Shing Kok in Tseung Kwan O.  The CMHPO therefore wishes to collect market information on pathology accessories.

- Background of the CMH Project

## The Chief Executive announced in the 2014 Policy Address that the Government had decided to reserve a site in Tseung Kwan O for setting up a CMHHK. The 2017 Policy Address stated that the Government decided to finance the construction of the CMHHK and identify by way of tender a suitable non-profit-making organisation (“NPMO”) to operate the CMHHK.  CMHHK will be owned by the Government and the selected NPMO will operate the CMHHK.  The CMHHK would be positioned as a flagship Chinese Medicine (“CM”) institution leading the development of CM services and Chinese medicines in Hong Kong. It will be a change driver, promoting service development, education and training, innovation and research, and facilitating collaboration with both local and international parties.

## The CMHHK with provision of 400 beds will provide a comprehensive range of CM services. Service types include pure CM services, services with CM playing the predominant role in collaboration with Western Medicine (“WM”) and Integrated Chinese-Western Medicine (“ICWM”) services. The scope of service to be provided in the CMHHK covers inpatient, day-patient, outpatient and community outreach services.

## To take forward the planning and development of the project on CMHHK, a designated office i.e. CMHPO, was established under the Health Bureau (the former Food and Health Bureau) on 2 May 2018.  Hong Kong Baptist University (HKBU) was selected as the Contractor for the CMHHK operation. HKBU, as the Contractor, has incorporated a company limited by guarantee, namely HKBU Chinese Medicine Hospital Company Limited as the Operator to manage, operate and maintain the CMHHK.  The CMHHK project has proceeded to the commissioning stage in 2021. The CMHHK which is located in 1 Pak Shing Kok Road, Tseung Kwan O, New Territories, Hong Kong has  commenced services by phases since 2025.

## More information on the services provision and design of the CMHHK can be found in the following link:

## https://www.healthbureau.gov.hk/en/press_and_publications/otherinfo/200900_cmhp/index.html

Note to Suppliers

- If your company have more than one pathology accessories that may meet the requirements of the Goods stated in this Proforma, please complete and return, together with relevant supporting documents, one set of Proforma for each different pathology accessories.

Part 2 – General Information of the Goods

| - Place of origin |  |
| --- | --- |
| - Name of manufacturer |  |
| - Address of the manufacturer’s factory or plant (“Manufacturing Plant”) |  |
| - Product name of the Goods |  |
| - Model number/ name/ version number of the Goods |  |
| - Authorised agent or distributor of the manufacturer in Hong Kong |  |
| - Packing (if applicable) |  |
| - Delivery method and route (where the place of origin is outside Hong Kong) |  |
| - Expected serviceable life (Please specify any components of the Goods that cannot meet the serviceable life) | The Goods shall have a serviceable life of _______ years from its date of acceptance except the following components: ____________________________________ (Please also provide the expected life of these excluded components) |

Part 3 – Indicative Technical Requirements

Notes to Suppliers for Completion of Part 3

- Unless specified otherwise, the “Goods” in this Part 3 refers to section A1.1 below.

- The indicative technical requirements are for the purpose of collecting market information only.  They are subject to changes and do not represent the final technical requirements of the intended tender.

- Please indicate, as a point by point compliance statement, whether your proposed Goods “Comply” or “Not Comply” with an indicative technical requirement stated in Column II by ticking () in the appropriate box under Column III and Column IV respectively.

- Where applicable, please quote the value of your proposed Goods in either Column III (if “Comply”) or Column IV (if “Not Comply”) respectively against corresponding indicative technical requirement  (use additional sheet(s) if space is insufficient

- Please provide supporting documents (such as catalogues, user manual and/or operation manual, DICOM conformance statement, etc.) to illustrate the features of your proposed pathology accessories against the corresponding indicative technical requirements.

| Column I | Column II | Column III | Column IV |
| --- | --- | --- | --- |
| Section | Technical Specification | Tick () the Appropriate Box (For aspects “Not Comply”, please also provide alternative proposal, if any) |  |
|  |  | Comply | Not Comply |
| A | Technical Requirements |  |  |
| 1 | Goods to be Supplied |  |  |
| 1.1 | The Goods is one lot of pathology accessories as stipulated in these Technical Specifications (hereinafter refers as “Pathology Accessories” or “Goods”). |  |  |
| 2 | Item 1: Carboy with Spigot, Low Density, Polyethylene |  |  |
| 2.1 | Goods to be Supplied |  |  |
| 2.1.1 | The Goods are containers with a wide, rounded body and a spigot for storing and dispensing liquids. |  |  |
| 2.1.2 | Sixteen (16) numbers of Goods shall be supplied and delivered in total, comprising 8 numbers with 10-litre capacity and 8 numbers with 20-litre capacity. |  |  |
| 2.2 | Intended Use of the Goods |  |  |
| 2.2.1 | The Goods shall be designed for safe and efficient storage and dispensing of liquids in laboratory settings, including distilled water, acids and reagents. |  |  |
| 2.3 | Functional and Performance Requirements of the Goods |  |  |
| 2.3.1 | The Goods shall be made of low-density polyethylene or polypropylene. |  |  |
| 2.3.2 | Each Goods shall include a spigot and screw closure to ensure leak resistance. |  |  |
| 2.3.3 | The spigot shall feature an easy-to-use open and close mechanism. |  |  |
| 2.3.4 | The Goods shall incorporate a wide mouth opening for easy filling and cleaning, with a closure size of 83mm (±5%). |  |  |
| 2.3.5 | Molded graduations shall be provided for precise measurement and dispensing. |  |  |
| 2.3.6 | The Goods shall exhibit strong resistance to acids, bases, and alcohols. |  |  |
| 3 | Item 2: Desiccator |  |  |
| 3.1 | Goods to be Supplied |  |  |
| 3.1.1 | The Goods is a benchtop cabinet featuring a transparent body and secure gaskets, specifically designed for the storage of anhydrous and hygroscopic materials. |  |  |
| 3.1.2 | One (1) number of Goods shall be supplied and delivered. |  |  |
| 3.2 | Intended Use of the Goods |  |  |
| 3.2.1 | The Goods shall perform the following three functions: |  |  |
|  | - The Goods shall provide a controlled, low-humidity environment to protect anhydrous and hygroscopic materials from moisture and humidity. |  |  |
|  | - The Goods shall facilitate the storage and effectiveness of drying agents to maintain this environment. |  |  |
|  | - The Goods shall enable materials to cool down safely in a moisture-free setting after heating processes. |  |  |
| 3.3 | Functional and Performance Requirements of the Goods |  |  |
| 3.3.1 | The Goods shall be made of transparent acrylic plastic. |  |  |
| 3.3.2 | The Goods shall include at least 3 adjustable and removable clear shelves to provide flexible storage options. |  |  |
| 3.3.3 | The shelves shall be vented to maximize airflow within the cabinet. |  |  |
| 3.3.4 | The Goods shall feature a desiccant tray designed to securely hold drying agents in place. |  |  |
| 3.3.5 | The Goods shall be equipped with an in-door hygrometer for easy visualization of relative humidity levels. |  |  |
| 3.3.6 | The Goods shall have a gasketed door, secured with at least 2 stainless steel latches and a full-height hinge. |  |  |
| 3.4 | Dimensions |  |  |
| 3.4.1 | The dimensions of the Goods shall be ranged from 250-360mm (W) x 340-410mm (D) x 326-600mm (H). |  |  |
| 3.4.2 | The volume of the dessicator shall be about 1.8-2.0 cube feet. |  |  |
| 4 | Item 3: Dispenser, with Bottle, Variable Volume |  |  |
| 4.1 | Goods to be Supplied |  |  |
| 4.1.1 | The Goods are manual bottle-top dispensers designed for direct dispensing of liquids from reagent bottles. |  |  |
| 4.1.2 | Four (4) numbers of Goods shall be supplied and delivered in total, comprising 2 numbers covering a volume range of 1.0-10.0ml and 2 numbers covering a volume range of 5.0-50.0ml. |  |  |
| 4.2 | Intended Use of the Goods |  |  |
| 4.2.1 | The Goods shall manually dispense precise amounts of liquids, including chemicals and solvents, from reagent bottles to containers in laboratory settings. |  |  |
| 4.2.2 | The Goods shall minimize user exposure to hazardous substances and reduce the risk of spills during dispensing operations. |  |  |
| 4.3 | Functional and Performance Requirements of the Goods |  |  |
| 4.3.1 | The Goods shall be compatible with standard laboratory reagent bottles. |  |  |
| 4.3.2 | The Goods shall be equipped with a graduation gauge for easy volume measurement and adjustment. |  |  |
| 4.3.3 | The Goods covering a volume range of 1.0-10.0ml shall have graduations of 0.2ml. |  |  |
| 4.3.4 | The Goods covering a volume range of 5.0-50.0ml shall have graduations of 1.0ml. |  |  |
| 4.3.5 | The Goods shall provide precise and accurate dispensing with an accuracy of ±0.5%, or better. |  |  |
| 4.3.6 | The Goods shall be designed for laboratory use, ensuring chemical resistance to a variety of liquid. |  |  |
| 4.4 | Accessories |  |  |
| 4.4.1 | Each set of the Goods shall be supplied with the following accessories: |  |  |
|  | - 1 no. of media bottle with 500ml capacity; |  |  |
|  | - 1 no. of media bottle with 1000ml capacity; |  |  |
|  | - 1 set of GL25, GL28, GL32, GL38 and S40 bottle thread adapters; |  |  |
|  | - 1 no. of filling tube; and |  |  |
|  | - 1 no. of closure cap. |  |  |
| 5 | Item 4: Flask, Volumetric, Glass, Variable Volume |  |  |
| 5.1 | Goods to be Supplied |  |  |
| 5.1.1 | The Goods are laboratory apparatus designed for precise measurement of liquid volumes (hereinafter refers as “Volumetric Flask” or “Goods”). |  |  |
| 5.1.2 | Two (2) numbers of Volumetric Flask shall be supplied and delivered. |  |  |
| 5.2 | Intended Use of the Goods |  |  |
| 5.2.1 | The Goods shall be used to measure and transfer precise volumes of liquids in laboratory operations. |  |  |
| 5.3 | Functional and Performance Requirements of the Goods |  |  |
| 5.3.1 | The Goods shall be made of borosilicate 3.3 glass. |  |  |
| 5.3.2 | Each Volumetric Flask shall feature: |  |  |
|  | - A narrow neck and flat base; |  |  |
|  | - A clear and permanent circular graduation mark; and |  |  |
|  | - A plastic or glass stopper. |  |  |
| 5.3.3 | Volumetric Flasks shall have a capacity of 1000ml. |  |  |
| 5.3.4 | Volumetric Flasks shall provide measurements with an accuracy of ±0.4ml, or better. |  |  |
| 5.4 | Safety and Product Standards |  |  |
| 5.4.1 | Volumetric Flasks shall comply with the ISO 1042:1998 Laboratory glassware — One mark volumetric flasks (or equivalent national and other recognised standards or certifications). |  |  |
| 6 | Item 5: Measuring Cylinder, Volumetric, Glass, Variable Volume |  |  |
| 6.1 | Goods to be Supplied |  |  |
| 6.1.1 | The Goods are laboratory apparatus designed for precise measurement of liquid volumes (hereinafter refers as “Measuring Cylinder” or “Goods”). |  |  |
| 6.1.2 | Eight (8) numbers of Measuring Cylinder shall be supplied and delivered in total, comprising 2 numbers with 10ml capacity, 2 numbers with 50ml capacity, 2 numbers with 100ml capacity and 2 numbers with 500ml capacity. |  |  |
| 6.2 | Intended Use of the Goods |  |  |
| 6.2.1 | The Goods shall be used to measure and transfer precise volumes of liquids in laboratory operations. |  |  |
| 6.3 | Functional and Performance Requirements of the Goods |  |  |
| 6.3.1 | The Goods shall be made of borosilicate 3.3 glass. |  |  |
| 6.3.2 | Each Measuring Cylinder shall feature: |  |  |
|  | (a) A wide base; and |  |  |
|  | (b) Clear and permanent graduation markings. |  |  |
| 6.3.3 | Measuring Cylinders with capacities of 10ml, 50ml, 100ml and 500ml shall provide measurements with accuracies of ±0.2ml, ±0.5ml, ±1.0ml, and ±5.0ml respectively, or better. |  |  |
| 6.3.4 | Measuring Cylinders with capacities of 10ml, 50ml, 100ml and 500ml shall have graduations of 0.2ml, 1.0ml, 1.0ml and 5.0ml respectively. |  |  |
| 6.4 | Safety and Product Standards |  |  |
| 6.4.1 | Measuring Cylinders shall comply with the ISO 4788:2005 Laboratory glassware — Graduated measuring cylinders (or equivalent national and other recognised standards or certifications). |  |  |
| 7 | Item 6: Forceps, Variable Length |  |  |
| 7.1 | Goods to be Supplied |  |  |
| 7.1.1 | The Goods are handheld instruments designed for grasping tissues and materials in laboratory settings. |  |  |
| 7.1.2 | Twenty-four (24) numbers of Goods shall be supplied and delivered in total, comprising 12 numbers of dissecting forceps and 12 numbers of specimen forceps. |  |  |
| 7.2 | Intended Use of the Goods |  |  |
| 7.2.1 | The Goods shall perform the following 2 functions: |  |  |
|  | - The dissecting forceps shall provide precise manipulation and separation of tissues during dissection processes. |  |  |
|  | - The specimen forceps shall facilitate the secure handling and transfer of specimens or small objects without causing damage. |  |  |
| 7.3 | Functional and Performance Requirements of the Goods |  |  |
| 7.3.1 | The Goods shall be made of high-quality stainless steel. |  |  |
| 7.3.2 | The dissecting forceps shall feature finely pointed tips to ensure precision in handling delicate tissues. |  |  |
| 7.3.3 | The specimen forceps shall be equipped with blunt, serrated tips to securely hold specimens or small objects of varying sizes. |  |  |
| 7.3.4 | Both types of Goods shall feature a straight forceps design. |  |  |
| 7.3.5 | The Goods shall incorporate an ergonomic grip design to enhance user comfort and control, with considerations given to the shape and size of the handles and tips. |  |  |
| 7.3.6 | The Goods shall be autoclavable and capable of withstanding repeated sterilization process without degrading. |  |  |
| 7.4 | Dimensions |  |  |
| 7.4.1 | The overall length of the dissecting forceps shall be 140mm (±10%). |  |  |
| 7.4.2 | The overall length of the specimen forceps shall be 140mm (±10%). |  |  |
| 8 | Item 7: Rack, Draining |  |  |
| 8.1 | Goods to be Supplied |  |  |
| 8.1.1 | The Goods are racks specifically designed for hanging and draining of laboratory glassware. |  |  |
| 8.1.2 | Two (2) numbers of Goods shall be supplied and delivered. |  |  |
| 8.2 | Intended Use of the Goods |  |  |
| 8.2.1 | The Goods shall provide a secure and organised space for drying laboratory glassware, including beakers, test tubes, and other items. |  |  |
| 8.2.2 | The Goods shall effectively channel and collect excess liquid through an integrated collection system, ensuring a clean and tidy laboratory environment. |  |  |
| 8.3 | Functional and Performance Requirements of the Goods |  |  |
| 8.3.1 | The Goods shall be made of PVC-coated steel wire or high-quality PS. |  |  |
| 8.3.2 | The Goods shall be equipped with at least 55 pegs, providing ample capacity to accommodate a large amount of laboratory glassware securely. |  |  |
| 8.3.3 | The Goods shall include a measure for holding larger glassware, ensuring versatility in usage. |  |  |
| 8.3.4 | The Goods shall offer the flexibility to be mounted on a wall or placed on a benchtop, according to user preference. |  |  |
| 8.3.5 | The Goods shall be equipped with a tray or a trough to efficiently collect and contain drops, preventing liquid from reaching the surfaces where the rack is placed. |  |  |
| 8.4 | Dimensions |  |  |
| 8.4.1 | The width of the Goods shall be ranged from 360mm to 450mm. |  |  |
| 8.4.2 | The height of the Goods shall be ranged from 630mm to 640mm. |  |  |
| 9 | Item 8: Specimen Container Rack |  |  |
| 9.1 | Goods to be Supplied |  |  |
| 9.1.1 | The Goods are racks designed to securely hold and organize specimen containers in laboratory settings (hereinafter refers as “Specimen Container Rack” or “Goods”). |  |  |
| 9.1.2 | Twenty (20) numbers of Specimen Container Rack shall be supplied and delivered in total, comprising 10 numbers for 49mm diameter containers and 10 numbers for 29mm diameter containers, each with a tolerance of ±5%. |  |  |
| 9.2 | Intended Use of the Goods |  |  |
| 9.2.1 | The Goods shall provide a secure and organized solution for storing and displaying specimen containers, ensuring easy access and clear identification. |  |  |
| 9.3 | Functional and Performance Requirements of the Goods |  |  |
| 9.3.1 | The Specimen Container Rack shall be made of PP. |  |  |
| 9.3.2 | The Specimen Container Rack for containers with a 49mm diameter (±5%) shall have at least 8 wells. |  |  |
| 9.3.3 | The Specimen Container Rack for containers with a 29mm diameter (±5%) shall have at least 18 wells. |  |  |
| 9.3.4 | The design of the Goods shall prevent tipping or accidental spillage of specimen containers, test tubes and microtubes. |  |  |
| 9.3.5 | The design of the Goods shall allow easy insertion and removal of individual specimen containers, test tubes and microtubes. |  |  |
| 9.3.6 | The Goods shall be autoclavable at 121°C for 20 minutes. |  |  |
| 9.3.7 | The Goods shall offer different color options to facilitate easy identification and organization of different specimens, test tubes or microtubes. |  |  |
| 9.4 | Dimensions |  |  |
| 9.4.1 | The dimensions of the Specimen Container Rack shall be 121mm (W) x 233mm (L) x 72mm (H) (±10%). |  |  |
| 10 | Item 9: Test Tube Rack |  |  |
| 10.1 | Goods to be Supplied |  |  |
| 10.1.1 | The Goods are racks designed to securely hold and organize specimen containers, test tubes, and microtubes in laboratory settings (hereinafter refers as “Test Tube Rack” or “Goods”). |  |  |
| 10.1.2 | Sixty (60) numbers of Test Tube Rack shall be supplied and delivered. |  |  |
| 10.2 | Intended Use of the Goods |  |  |
| 10.2.1 | The Goods shall provide a secure and organized solution for storing and displaying test tubes, ensuring easy access and clear identification. |  |  |
| 10.3 | Functional and Performance Requirements of the Goods |  |  |
| 10.3.1 | The Test Tube Rack shall be made of PP. |  |  |
| 10.3.2 | The Test Tube Rack shall be designed to accommodate test tubes with diameters between 15-16mm. |  |  |
| 10.3.3 | The Test Tube Rack shall feature at least 36 wells. |  |  |
| 10.3.4 | The design of the Goods shall prevent tipping or accidental spillage of specimen containers, test tubes and microtubes. |  |  |
| 10.3.5 | The design of the Goods shall allow easy insertion and removal of individual specimen containers, test tubes and microtubes. |  |  |
| 10.3.6 | The Goods shall be autoclavable at 121°C for 20 minutes. |  |  |
| 10.3.7 | The Goods shall offer different color options to facilitate easy identification and organization of different specimens, test tubes or microtubes. |  |  |
| 10.4 | Dimensions |  |  |
| 10.4.1 | The dimensions of the Test Tube Rack shall be ranged from 104-127mm (W) x 127-246mm (L) x 63-72mm (H). |  |  |
| 11 | Item 10: Microtube Container |  |  |
| 11.1 | Goods to be Supplied |  |  |
| 11.1.1 | The Goods are racks designed to securely hold and organize specimen containers, test tubes, and microtubes in laboratory settings (hereinafter refers as “Microtube Container” or “Goods”). |  |  |
| 11.1.2 | Seventy-eight (78) numbers of Microtube Container shall be supplied and delivered in total, comprising 30 numbers of reversible Microtube Rack and 48 numbers of Microtube Rack Box. |  |  |
| 11.2 | Intended Use of the Goods |  |  |
| 11.2.1 | The Goods shall provide a secure and organized solution for storing and displaying microtubes, ensuring easy access and clear identification. |  |  |
| 11.3 | Functional and Performance Requirements of the Goods |  |  |
| 11.3.1 | The reversible Microtube Rack shall be made of PP. |  |  |
| 11.3.2 | The Microtube Rack box shall be made of cardboard. |  |  |
| 11.3.3 | The reversible Microtube Rack shall be designed to accommodate 2 sizes of microtubes: 0.5ml and 1.5ml. |  |  |
| 11.3.4 | The reversible Microtube Rack shall feature at least 60 wells for the 1.5ml microtubes. |  |  |
| 11.3.5 | The Microtube Rack box shall be designed to accommodate test tubes with diameters between 12-13mm. |  |  |
| 11.3.6 | The Microtube Rack box shall feature at least 81 wells. |  |  |
| 11.3.7 | The design of the Goods shall prevent tipping or accidental spillage of specimen containers, test tubes and microtubes. |  |  |
| 11.3.8 | The design of the Goods shall allow easy insertion and removal of individual specimen containers, test tubes and microtubes. |  |  |
| 11.3.9 | The Goods, except Microtube Rack box, shall be autoclavable at 121°C for 20 minutes. |  |  |
| 11.3.10 | The Goods shall offer different color options to facilitate easy identification and organization of different specimens, test tubes or microtubes. |  |  |
| 11.4 | Dimensions |  |  |
| 11.4.1 | The dimensions of the reversible Microtube Rack shall be ranged from 74-110mm (W) x 212-290mm (L) x 24-60mm (H). |  |  |
| 11.4.2 | The dimensions of the Microtube Rack box shall be ranged from 130-135mm (W) x 130-135mm (L) x 47-95mm (H). |  |  |
| 12 | Item 11: Spatula, Scraper with Spoon, Variable Length |  |  |
| 12.1 | Goods to be Supplied |  |  |
| 12.1.1 | The Goods are lab spoons designed for multiple functions, including transferring materials, crushing lumps, scraping and chopping. |  |  |
| 12.1.2 | Eight (8) numbers of Goods shall be supplied and delivered. |  |  |
| 12.2 | Intended Use of the Goods |  |  |
| 12.2.1 | The Goods shall provide a versatile tool for handling various laboratory materials, enhancing efficiency in tasks such as transferring, crushing, scraping, and chopping. |  |  |
| 12.3 | Functional and Performance Requirements of the Goods |  |  |
| 12.3.1 | The Goods shall be made of stainless steel. |  |  |
| 12.3.2 | The Goods shall have a double-ended design with both spoon end and spatula end on other for versatile use. |  |  |
| 12.3.3 | The Goods shall be autoclavable and capable of withstanding repeated sterilization process without degrading. |  |  |
| 12.3.4 | The Goods shall have an ergonomic handle to provide a comfortable grip, reducing hand fatigue during extended use. |  |  |
| 12.3.5 | The edges of both ends shall be smooth to prevent injury during handling. |  |  |
| 12.4 | Dimensions |  |  |
| 12.4.1 | The length of the Goods shall be in 21cm (±5%). |  |  |
| 13 | Item 12: Stirrers, Magnetic, Variable Length |  |  |
| 13.1 | Goods to be Supplied |  |  |
| 13.1.1 | The Goods are assortment packs of stirring bars specifically designed for laboratory use, including cylindrical and octahedral shapes. |  |  |
| 13.1.2 | Four (4) numbers of Goods shall be supplied and delivered. |  |  |
| 13.2 | Intended Use of the Goods |  |  |
| 13.2.1 | The Goods shall provide efficient and reliable stirring for various laboratory solutions and samples, suitable for use in beakers, flasks, and other laboratory containers. |  |  |
| 13.2.2 | The Goods shall enhance mixing and prevent sedimentation in laboratory settings, ensuring consistent results and uniform solutions. |  |  |
| 13.3 | Functional and Performance Requirements of the Goods |  |  |
| 13.3.1 | The Goods shall be made of high-quality PTFE. |  |  |
| 13.3.2 | The Goods shall include a range of sizes to accommodate different volumes and container dimensions. |  |  |
| 13.3.3 | The Goods shall include both cylindrical and octahedral shapes to optimize stirring efficiency. |  |  |
| 13.3.4 | The Goods shall be magnetized to ensure effective coupling with magnetic stirring devices, maintaining stable and consistent motion. |  |  |
| 13.3.5 | The Goods shall be easy to clean and maintain, suitable for repeated use without degradation of performance. |  |  |
| 13.3.6 | The Goods shall be supplied in a convenient transparent plastic box with dividers for magnet classification. |  |  |
| 13.4 | Dimensions |  |  |
| 13.4.1 | The diameter of cylindrical stirring bars shall range from 6mm to 10mm (±5%). |  |  |
| 13.4.2 | The length of cylindrical stirring bars shall range from 10mm to 70mm (±5%). |  |  |
| 14 | Item 13: Tray, Stackable |  |  |
| 14.1 | Goods to be Supplied |  |  |
| 14.1.1 | The Goods are stackable trays specifically designed for organizing and storing laboratory equipment. |  |  |
| 14.1.2 | Ten (10) numbers of Goods shall be supplied and delivered. |  |  |
| 14.2 | Intended Use of the Goods |  |  |
| 14.2.1 | The Goods shall provide a convenient and organized storage solution for laboratory instruments, glassware, and samples, optimizing workspace efficiency. |  |  |
| 14.2.2 | The Goods shall facilitate easy handling and transport of laboratory items within and between laboratory environments. |  |  |
| 14.3 | Functional and Performance Requirements of the Goods |  |  |
| 14.3.1 | The Goods shall be made of PP. |  |  |
| 14.3.2 | The Goods shall feature a stackable design to maximize storage space and allow for efficient vertical storage. |  |  |
| 14.3.3 | The Goods shall have reinforced edges and a non-slip surface to prevent items from sliding or tipping during use. |  |  |
| 14.4 | Dimensions |  |  |
| 14.4.1 | The dimensions of the Good shall be 370mm (L) x 270mm (W) x 65mm (H) (±10%). |  |  |
| 15 | Item 14: Wash Bottle, Variable Size |  |  |
| 15.1 | Goods to be Supplied |  |  |
| 15.1.1 | The Goods are wash bottles that designed for dispensing distilled water, solvents, or cleaning solutions in laboratory settings. |  |  |
| 15.1.2 | Two (2) numbers of Goods shall be supplied and delivered. |  |  |
| 15.2 | Intended Use of the Goods |  |  |
| 15.2.1 | The Goods shall be used to rinse or clean laboratory materials and to add small amounts of liquids or solvents to containers. |  |  |
| 15.3 | Functional and Performance Requirements of the Goods |  |  |
| 15.3.1 | The Goods shall be made of LDPE or PP. |  |  |
| 15.3.2 | The Goods shall have a 500ml capacity. |  |  |
| 15.3.3 | The Goods shall include an integrated screw cap and delivery tube assembly. |  |  |
| 15.3.4 | The Goods shall have a precision molded tip that provides a straight stream free from sputter. |  |  |
| 15.3.5 | The delivery tube of the Goods shall allow for both fine stream and broad dispensing as required. |  |  |
| 15.3.6 | The Goods shall withstand repeated squeezing without deformation or cracking. |  |  |
| 15.3.7 | The Goods shall be able to be used with most acids, bases, alcohols and bleach. |  |  |
| 15.4 | Dimensions |  |  |
| 15.4.1 | The height of the Goods shall be ranged from 165 mm to 216 mm. |  |  |

Part 4 – Implementation Plan

(Note to Suppliers: Please provide the estimated time periods required for the completion of the following tasks, counting from the date of issue an order (“Order Date”).  Both the start and end date of the Order Date is referenced as Month 0.  The Goods should be Ready for Use in the last month of the Implementation Plan.)

| Tasks of the Implementation Plan |  | Estimated Time Period for Performing the Tasks (The Order Date is set as Month 0) |  |
| --- | --- | --- | --- |
|  |  | Start (Month) | End (Month) |
|  | #### Order Date (i.e. the date of order placed by the Government, if any) | 0 | 0 |
|  | #### Submission of Site Preparation Information (if applicable) |  |  |
|  | #### Design of the Goods (if applicable) |  |  |
|  | #### Delivery of the Goods |  |  |
|  | #### Installation of the Goods |  |  |
|  | #### Acceptance Tests |  |  |
|  | #### Any other tasks considered necessary by your company (Please provide details, use separate sheet if space is insufficient): |  |  |
|  | #### Goods Ready for Use (i.e. the date when the Goods has passed all acceptance tests and accepted by the Government) | 0 |  |

Part 5 – Information on Compliance with International, National and other Recognised Standards or Certifications (Not applicable)

(Note to Suppliers: Please indicate in the box below whether the proposed pathology accessories can meet with the standards stated in Column I by inserting a tick in an appropriate box under Column III. If your proposed pathology accessories does not meet the standards stated in Column I, please indicate the equivalent standards met by your proposed pathology accessories in Column IV.  In any case, please attach copies of relevant valid certificates to prove compliance with such standards.)

| Column I | Column II | Column III |  | Column IV |
| --- | --- | --- | --- | --- |
| International, National and other Recognised Standards or Certifications | Requirements | Comply with the Standard in Column I? |  | Comply with the following equivalent standard (If “No” in Column III) |
|  |  | Yes | No |  |
| ## ISO 1042:1998 | ## Details please refer to the Section 5.4.1 |  |  |  |
| ISO 4788:2005 | Details please refer to the Section 6.4.1 |  |  |  |
| Compliance with other international, national and recognised standard(s) or certification(s) in addition to the above (please specify) |  |  |  |  |

## Part 6 – Indicative Price Information

(Note to Suppliers: The price information provided in this Part 7 is for Government’s consideration only and shall not constitute any commitment on the part of the Government or your company. Nevertheless, please provide the information as accurate as possible.)

(a) Indicative Price Information for the Goods

| Item | Description | Estimated Quantity | Unit Price | Estimated Goods Price |
| --- | --- | --- | --- | --- |
|  |  |  | One-time Unit Price (HK$) | Estimated Goods Price for the Item specified opposite (HK$) |
|  |  | (a) | (b) | (c) = (a) x (b) |
| 1 | Supply, delivery, installation, testing and commissioning of the Goods and related accessories, as more particularly specified in section A1.1 in Part 3 | 1 set |  | (Please also provide breakdown cost for key components of the Goods, if any) |
| 2 | Other (please specify) | (please specify) |  |  |
| Total One-time Charge* (i.e. Sum of Estimated Goods Prices of Item 1- 2) |  |  |  |  |

Note: * The Total One-time Charge shall include one-year of warranty period.

Part 7 – Supplementary Information

- Number of proposed Goods Already Installed (leave blank if information is not available)

          - In Hong Kong :	 __________ sets

          - Globally		: __________ sets

- Year of Launch of the Proposed Goods (leave blank if information is not available)

My/our proposed Goods was first launched in the market in Year  _____________

- Pre-Installation Requirements of the Proposed Goods (if any)

(Pre-installation requirements may include any preparation work and provisions that are necessary for the installation of the Goods, such as the requirements of ceiling mount support, power supply requirements, etc.)

END