P R O F O R M A

Request for Market Information (“RFI”) for 
Supply and Installation of Endoscopic Reporting System

To The Chinese Medicine Hospital of Hong Kong (“CMHHK”)

(CMHPO Ref.:        )

To : 	Project Director (CMHPO)

(Attn. Ms Christine YEUNG)

### [by fax: 2127 4795 or email: cklyeung@healthbureau.gov.hk]

Your ref:

In response to the RFI of the CMHHK, my/our company, with contact details provided in Part 1 below, would like to provide the information and relevant supporting documents in Parts 2 to 9 of this Proforma.

Part 1 – Supplier’s Contact Details

From:

(Name of the Supplier): _______________________________________________________

(please fill in)

Name and Post of Contact person: _______________________________________________

(please fill in)

Email:___________________________       Telephone no.:________________________

(please fill in)					   (please fill in)

### -----------------------------------------------------------------------------------------------------------------

RFI (CE)

This document does not constitute any offer or invitation / solicitation of any offer in connection with the exercise described herein.  Neither this document nor any activities in connection therewith shall create any legal obligations or liabilities in any way on the part of the Health Bureau (HHB) or the Government of Hong Kong Special Administrative Region.  Neither this document nor anything contained herein shall form the basis of any contract or commitment whatsoever.  In responding to the RFI, a respondent shall be deemed to have agreed to all the terms of this Request for Market Information.

Purpose and Background Information of the RFI

- Purpose

## Chinese Medicine Hospital Project Office (“CMHPO”) of the Health Bureau (“HHB”) of the Government intends to invite a tender for the supply and installation of Endoscopic Reporting System (hereinafter refers as the “System”) for The Chinese Medicine Hospital of Hong Kong (“CMHHK”) located at Pak Shing Kok in Tseung Kwan O.  The CMHPO therefore wishes to collect market information on computed tomography systems.

- Background of the CMH Project

## The Chief Executive announced in the 2014 Policy Address that the Government had decided to reserve a site in Tseung Kwan O for setting up a CMHHK. The 2017 Policy Address stated that the Government decided to finance the construction of the CMHHK and identify by way of tender a suitable non-profit-making organisation (“NPMO”) to operate the CMHHK.  CMHHK will be owned by the Government and the selected NPMO will operate the CMHHK.  The CMHHK would be positioned as a flagship Chinese Medicine (“CM”) institution leading the development of CM services and Chinese medicines in Hong Kong. It will be a change driver, promoting service development, education and training, innovation and research, and facilitating collaboration with both local and international parties.

## The CMHHK with provision of 400 beds will provide a comprehensive range of CM services. Service types include pure CM services, services with CM playing the predominant role in collaboration with Western Medicine (“WM”) and Integrated Chinese-Western Medicine (“ICWM”) services. The scope of service to be provided in the CMHHK covers inpatient, day-patient, outpatient and community outreach services.

## To take forward the planning and development of the project on CMHHK, a designated office i.e. CMHPO, was established under the Health Bureau (the former Food and Health Bureau) on 2 May 2018.  Hong Kong Baptist University (HKBU) was selected as the Contractor for the CMH operation. HKBU, as the Contractor, has incorporated a company limited by guarantee, namely HKBU Chinese Medicine Hospital Company Limited as the Operator to manage, operate and maintain the CMHHK.  The CMHHK project has proceeded to the commissioning stage in 2021. It has been commenced hospital services by phases from December 2025.

## More information on the services provision and design of the CMHHK can be found in the following link:

## https://www.healthbureau.gov.hk/en/press_and_publications/otherinfo/200900_cmhp/index.html

Note to Suppliers

- If your company have more than one Endoscopic Reporting System that may meet the requirements of the System stated in this Proforma, please complete and return, together with relevant supporting documents, one set of Proforma for each different Endoscopic Reporting System.

Part 2 – General Information of the System

| - Place of origin |  |
| --- | --- |
| - Name of manufacturer |  |
| - Address of the manufacturer’s factory or plant (“Manufacturing Plant”) |  |
| - Product name of the System |  |
| - Model number/ name/ version number of the System |  |
| - Authorised agent or distributor of the manufacturer in Hong Kong |  |
| - Packing (if applicable) |  |
| - Delivery method and route (where the place of origin is outside Hong Kong) |  |
| - Warranty period of the System (Please refer to section G in Part 3 for details of the warranty service requirements) | ____________ months from Acceptance of the System (Should not be less than 12 months) |
| - Expected serviceable life (Please specify any components of the System that cannot meet the serviceable life) | The System shall have a serviceable life of _______ years from its date of acceptance except the following components: ________________________________________ (Please also provide the expected life of these excluded components) |

Part 3 – Indicative Technical Requirements

Notes to Suppliers for Completion of Part 3

- Unless specified otherwise, the “System” in this Part 3 refers to section A1.1 below.

- The indicative technical requirements are for the purpose of collecting market information only.  They are subject to changes and do not represent the final technical requirements of the intended tender.

- Please indicate, as a point by point compliance statement, whether your proposed System “Comply” or “Not Comply” with an indicative technical requirement stated in Column II by ticking () in the appropriate box under Column III and Column IV respectively.

- Where applicable, please quote the value of your proposed System in either Column III (if “Comply”) or Column IV (if “Not Comply”) respectively against corresponding indicative technical requirement  (use additional sheet(s) if space is insufficient

- Please provide supporting documents (such as catalogues, user manual and/or operation manual, DICOM conformance statement, etc.) to illustrate the features of your proposed computed tomography system against the corresponding indicative technical requirements.

| Column I | Column II | Column III | Column IV |
| --- | --- | --- | --- |
| Section | Technical Specification | Tick () the Appropriate Box (For aspects “Not Comply”, please also provide alternative proposal, if any) |  |
|  |  | Comply | Not Comply |
| A | Technical Requirements |  |  |
| 1 | Overall Requirements |  |  |
| 1.1 | The Endoscopic Reporting System shall be compatible with the Endoscope and the Endoscopic Viewing System, capable of capturing clinical photos and video during the endoscopic procedure, and capable of generating a clinical report (“System”). |  |  |
| 1.2 | Provide one (1) set of System for each Endoscopy Room. In total two (2) sets of System are required. |  |  |
| 1.3 | Each set of the System shall have the following components: |  |  |
|  | (a) One (1) set of workstation (“Hardware”) as detailed in section A2 below; |  |  |
|  | (b) One (1) set of capturing and reporting software (“Software”) with one (1) set of capturing license and two (2) set reporting licenses (if the licenses are sold separately) as detailed in section A3 below. |  |  |
| 1.4 | Serviceable Life |  |  |
|  | (a) The Hardware shall have a serviceable life of not less than three (3) years from its Final Acceptance Date (“Serviceable Life”). |  |  |
|  | (b) The Software shall have full functionality, technical support, and software updates as long as the license remains valid. |  |  |
| 1.5 | Environmental Requirements The Hardware shall be suitable to operate continuously to specification throughout its normal life span in the Hong Kong climate. The following parameters shall normally apply: - Temperature : 10oC to 35oC - Relative humidity : 8% to 80% |  |  |
| 2 | Workstation |  |  |
| 2.1 | Each set of the workstation shall comprise the following components: |  |  |
|  | - Desktop computer with writable DVD player. |  |  |
|  | - Display monitor diagonally 23 inches or above with mounting device. |  |  |
|  | - Keyboard. |  |  |
|  | - Mouse. |  |  |
|  | - Barcode reader. |  |  |
|  | - Printer. |  |  |
|  | - Capture and recording foot-switches. |  |  |
|  | - SDI /HDMI /DVI cables if required. |  |  |
|  | - Hand switch and cable for capture signal synchronization with the Endoscopes and the Endoscopic Viewing System. |  |  |
| 3 | Capturing and Reporting Software with one set of capturing license and two (2) set reporting licenses (if the licenses are sold separately) |  |  |
| 3.1 | Capture software shall be able to: |  |  |
|  | - Supports Full HD (1920×1080, 30 fps). |  |  |
|  | - Compatible with multiple video sources (HDMI, SDI, DVI, Composite, S-Video, Components (YCbCr)). |  |  |
|  | - Stores patient data and examination procedure information in RDBMS (e.g., SQL Server). |  |  |
|  | - Preserve captured images and recorded videos temporally in the local drive during the endoscopic procedure until auto-purge is activated. |  |  |
|  | - Support image capture signal synchronization with the Endoscopes and the Endoscopic Viewing System. |  |  |
|  | - Capture and recording signals via the function button on the endoscopes. |  |  |
|  | - Capture and recording signals via other means such as foot-switch and mouse click. |  |  |
|  | - Able to auto-recover to minimize crash impact. |  |  |
|  | - Provide integration via Hospital HIS worklist. |  |  |
|  | - Obtain patient ID by barcode scanner. |  |  |
|  | - Manually input patient and procedure data to start a new examination. |  |  |
| 3.2 | Reporting software shall be able to: |  |  |
|  | - Allow user to insert and mange photo capture when creating report. |  |  |
|  | - Provide tools to insert text, rectangle, circle and arrow on a diagram with further editing allowed before final reporting. |  |  |
|  | - Allow user to insert and mange his/her own text template when creating report. |  |  |
|  | - Provide Doctor Signature management allowing doctor to import digital signatures on a report. |  |  |
|  | - Allow user to change the image layout size before saving and printing report. |  |  |
|  | - Provide centralized server with RAID-protected storage. |  |  |
|  | - Provide role-based access control. |  |  |
|  | - Generate endoscopic reports in PDF format for printing and for integration with hospital IT system. |  |  |
|  | - Generate video record that export to USB drive or DVD for patient record and for integration with hospital IT system. |  |  |
|  | - Provide flexible integration with hospital IT systems (HL7 supported). |  |  |
|  | - Customize the report template layout |  |  |
| 3.3 | The System provides tools to search, view, send and delete historical examinations and reports. |  |  |
| 3.4 | Capturing License or Reporting License shall be able to: |  |  |
|  | - Cover the features from A3.1 To A3.3. |  |  |
|  | - Prevent unauthorised users from accessing data by system login. |  |  |
|  | - Provide continuous software update during the license validity period. |  |  |
| 4 | Integration with other IT Systems |  |  |
| 4.1 | The System shall support integration with hospital HIS and reporting systems in both Hardware and Software support. |  |  |
| 4.2 | The System shall support customization of report templates based on procedure type which align with the documentation standard of the Hospital. |  |  |
| 4.3 | The System shall obtain patient’s information and procedure data from Hospital's HIS. |  |  |
| 4.4 | The System shall read and extract patient identify number and episode number from the barcode or QR codes from HIS wristband, labels and printouts. |  |  |
| 4.5 | The System shall be able to integrate with CMHHK Active Directory (AD) for authentication purpose |  |  |
| 4.6 | The System shall able to export the data into Excel or CSV format, for data analysis in other hospital system such as Business Intelligent System (BIS). |  |  |
| 4.7 | The System shall able to export images to external any storage / device not limited to VNA, storage server |  |  |
| 4.8 | The Contractor shall coordinate and work with the contractor of CMHHK IT infrastructure services to ensure the proper hosting, installation and configuration of the System with the CMHHK IT infrastructure services. |  |  |
| 4.9 | The Contractor shall coordinate and work with the contractor of Endoscopic Viewing System of CMHHK to enable endoscopic images and videos capture from endoscopies. |  |  |
| 4.10 | The Contractor shall coordinate and work with the contractor of HIS for system interface, patient data exchange and sending reports. |  |  |
| 4.11 | Maintain data security that align with hospital IT policies and request to submit the “CMHHK Supplier IT Security Assessment Form” in Appendix I. |  |  |
| B | Implementation Services |  |  |
| 1 | The System shall be installed, tested and become ready for use by the timeline specified in Part 4(k) with all costs included. |  |  |
| C | Training |  |  |
| 1 | Hands-on training for end users (doctors, nurses) shall be provided. |  |  |
| 2 | Training for IT for CMHHK users. |  |  |
| D | Documentation |  |  |
| 1 | Two complete sets of the manufacturer’s operation and maintenance manuals shall be submitted for each equipment at the time of delivery of the equipment. The manuals shall be submitted in one hardcopy and one softcopy. |  |  |
| 2 | The maintenance manuals and checklist for preventive maintenance of the equipment shall be sent to the hospital after order placement but before the equipment delivery for documentation purpose. |  |  |
| E | Acceptance Tests |  |  |
| 1 | Hardware systems acceptance tests should include functional and integration tests. |  |  |
| 2 | Software systems acceptance tests should include User Acceptance Test (UAT) for IT integration. |  |  |
| F | Indicative Warranty Service |  |  |
|  | The Supplier shall guarantee the equipment or any part thereof for a period of at least 12 months commencing from the date of acceptance of the equipment. The Supplier shall also replace faulty parts and provide both schedule and breakdown maintenance service by qualified maintenance personnel. In case of replacement of parts, they will be free of charge. |  |  |
| G | Indicative Maintenance Service |  |  |
| 1 | The Supplier shall quote the charge for annual maintenance services after the warranty period within the serviceable life of the proposed Goods. |  |  |
| 2 | The Supplier shall deploy properly trained service personnel to carry out the maintenance services and shall ensure that all necessary precautions for their safety are taken. |  |  |
| 3 | The Supplier shall provide free of additional charge corrective maintenance service for providing immediate repair service for the System and related equipment. |  |  |
| 4 | Upon notification by the CMHHK Operator of a defect in the operation of the equipment of part thereof, the potential supplier shall perform the corrective maintenance within 48 hours upon request from the CMHHK Operator. This service shall include all necessary repairs, adjustment and replacement of parts to restore the equipment to its normal operational conditions in a time of no more than 3 working days. If such work is not completed at the end of particular normal working period, subject to the user’s agreement, the maintenance work will either be completed on next working day, or arrangement will be made for the supplier to carry on working until the particular maintenance task is completed. |  |  |
| H | Desirable Features |  |  |
| 1 | On Screen Display (OSD) of Patient Data and Procedure Information on the image and video during procedure. |  |  |
| 2 | Provide log on the editing of the report. |  |  |

Part 4 – Implementation Plan

(Note to Suppliers: Please provide the estimated time periods required for the completion of the following tasks, counting from the date of issue an order (“Order Date”).  Both the start and end date of the Order Date is referenced as Month 0.  The System should be Ready for Use in the last month of the Implementation Plan.)

| Tasks of the Implementation Plan |  | Estimated Time Period for Performing the Tasks (The Order Date is set as Month 0) |  |
| --- | --- | --- | --- |
|  |  | Start (Month) | End (Month) |
|  | #### Order Date (i.e. the date of order placed by the Government, if any) | 0 | 0 |
|  | #### Submission of Site Preparation Information (if applicable) |  |  |
|  | #### Design of the System (if applicable) |  |  |
|  | #### Delivery of the System |  |  |
|  | #### Installation of the System |  |  |
|  | #### Implementation Services (Please refer to section B in Part 3 for details) |  |  |
|  | #### Delivery of Documentation (Please refer to section D in Part 3 for details) |  |  |
|  | #### Training (Please refer to section C in Part 3 for Details) |  |  |
|  | #### Acceptance Tests |  |  |
|  | #### Any other tasks considered necessary by your company (Please provide details, use separate sheet if space is insufficient): |  |  |
|  | #### System Ready for Use (i.e. the date when the System has passed all acceptance tests and accepted by the Government) | 0 |  |

Part 5 – Information on Compliance with International, National and other Recognised Standards or Certifications (if applicable)

(Note to Suppliers: Please indicate in the box below whether the proposed Endoscopic Reporting System can meet with the standards stated in Column I by inserting a tick in an appropriate box under Column III. If your proposed Endoscopic Reporting System does not meet the standards stated in Column I, please indicate the equivalent standards met by your proposed Endoscopic Reporting System in Column IV.  In any case, please attach copies of relevant valid certificates to prove compliance with such standards.)

| Column I | Column II | Column III |  | Column IV |
| --- | --- | --- | --- | --- |
| International, National and other Recognised Standards or Certifications | Requirements | Comply with the Standard in Column I? |  | Comply with the following equivalent standard (If “No” in Column III) |
|  |  | Yes | No |  |
| Compliance with other international, national and recognised standard(s) or certification(s) in addition to the above (please specify) |  |  |  |  |

Part 6 – Information on Licencing, Marketing Authorization and MDACS Listing (if applicable)

(Note to Suppliers: Please advise whether your company and the proposed System have the following licence, marketing authorization and Medical Device Administrative Control System (“MDACS”) listing. If affirmative, please provide copies of relevant licences, confirmation and certificates for our reference.)

| Question | Licensing/Certification/Listing Information of the System | (Please tick in the appropriate box) |  |
| --- | --- | --- | --- |
|  |  | #Yes | No |
| ## 1 | ## Does your company have valid licence(s) to sell, deal with, possess and use irradiating apparatus in Hong Kong issued under the Radiation Ordinance (Chapter 303 of the Laws of Hong Kong) (“IA Licence”)? |  |  |
| 2 | Has the proposed System been listed in a valid IA Licence? |  |  |
| 3 | Dose the proposed System have marketing authorization of Food and Drug Administration (FDA) of the United States? |  |  |
| 4 | If the proposed System has marketing authorization of FDA, please specify below the type of marketing authorization (i.e. approval, clearance or exemption). _____________________ |  |  |
| 5 | Does the proposed System have marketing authorization of the European Union (EU) for affixing of CE marking on the product? |  |  |
| 6 | If the proposed System has marketing authorization of EU, please state the type of supporting document (*delete which is not applicable). - *Declaration of conformity by the manufacturer; or - *Certificate of conformity issued by a notified body. |  |  |
| 7 | Does the proposed System have marketing authorization in country/region other than United States and EU? Please specify below if your answer is “Yes”. Country / Region : _________________________________ |  |  |
| 8 | Has your proposed System been listed in the MDACS of the Department of Health? |  |  |
| 9 | What class of medical device is your proposed System (if applicable)? - EU : Class ______ - United States : Class ______ - Other country/region (please specify below): - Country/Region _________ - Class _________ |  |  |

#Please provide a copy of the licence/confirmation/certificate for reference.

## Part 7 – Indicative Price Information

(Note to Suppliers: The price information provided in this Part 7 is for Government’s consideration only and shall not constitute any commitment on the part of the Government or your company. Nevertheless, please provide the information as accurate as possible.)

(a) Indicative Price Information for the System

| Item | Description | Estimated Quantity | Unit Price | Estimated Goods Price |
| --- | --- | --- | --- | --- |
|  |  |  | One-time Unit Price (HK$) | Estimated Goods Price for the Item specified opposite (HK$) |
|  |  | (a) | (b) | (c) = (a) x (b) |
| 1 | Supply, delivery, installation, testing and commissioning of the System and related accessories, as more particularly specified in section A1.1 to A1.3 in Part 3, including the provision of a minimum 12-months warranty period. | 2 set |  | (Please also provide breakdown cost for key components of the System, if any) |
| 2 | Provision of implementation services as detailed in section B in Part 3 | 1 lot |  |  |
| 3 | Provision of training services as detailed in section C in Part 3 | 2 courses |  |  |
| 4 | Documentation as detailed in section D in Part 3 | 1 lot |  |  |
| 5 | Other (please specify) | (please specify) |  |  |
| Total One-time Charge (i.e. Sum of Estimated Goods Prices of Item 1- 5) |  |  |  |  |

(b) Indicative Price Information for Selected Desirable Features (if applicable)

| Aspect | Description of Selected Desirable Features | Any Additional Charge to Total One-time Charge as Specified in Part 7(a) (Please tick whichever is applicable) |
| --- | --- | --- |
| 1 | On Screen Display (OSD) of Patient Data and Procedure Information on the image and video during procedure. | □ No additional charge □ Require additional charge: HK$ _________ |
| 2 | Provide log on the editing of the report. | □ No additional charge □ Require additional charge: HK$ _________ |

## Part 8 – Indicative Maintenance Charges and Spare Parts Price

(Notes to Suppliers for completion of Part 8)

- Pursant to item 1 of Part 7(a) above, the proposed System shall have a warranty period of not less than 12 months. The indicative warranty service requirements are stipulated in section G in Part 3, which are subject to changes at the sole discretion of the Government.

- Indicative maintenance service requirements after the free warranty period are stipulated in section H in Part 3, which are subject to changes at the sole discretion of the Government

- It is expected that the maintenance services shall be comprehensive, all inclusive and shall cover all parts, components, labour and software support services. If your company considers that any components of the System may not be covered by the maintenance services (saving that the labour shall always be covered by the maintenance services) and may need to be charged separately, please indicate replacement costs of these components and their replacement frequency.

- The annual maintenance charge within the serviceable life of the proposed System is adjustable in accordance with the consumer price index (B) upon the expiry of each 12-months period of maintenance service.

- Indicative Maintenance Prices of the Proposed System

| Year | Annual Maintenance Charge (HK$ per annum) |
| --- | --- |
| First 12-months period of maintenance service after the end of warranty period |  |

- Indicative Replacement Prices of System’s Components not covered by the Maintenance Services (if applicable) (Leave the following table blank if not applicable)

(Note to Suppliers: The labor costs for replacement of these components shall always be covered by the maintenance charges for the provision of the maintenance services regardless whether the prices for the supply of these components are covered by the maintenance services or not.)

| Item | Name of Items | Indicative Replacement Price (HK$/no.) | Indicative Replacement Frequency (e.g. once every 3 years) |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |

- Indicative overtime charges for provision of maintenance services after office hours (if applicable)

(Office hours mean 9 am to 6 pm from Monday to Friday excluding public holidays)

| (a) | Rates of overtime charges for maintenance service outside the office hours | HK$ per hour |
| --- | --- | --- |
| (b) | Minimum service hour(s) per call | service hour(s) per call |

- Indicative Prices for Replacement of Other Spare Parts (if applicable)

| Item | Name of Items | Price (HK$/no.) | Indicative Replacement Frequency (e.g. once every 3 years) | Expected time for delivery (weeks) |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |

- Indicative Price for Annual Support Services of Software (if applicable)

(Note to Suppliers: Please provide below annual charge for support services of the System’s software during the serviceable life of the System for the CMH Operator’s consideration.  The support services should include but not limited to:

- provision and renewal of software toolkits, access codes, passwords, software keys and hardware keys, etc. necessary for all kinds of adjustments, in-depth diagnosis and trouble shooting of the System; and

- version upgrade of the software.)

|  | (a) Free of charge during serviceable life |
| --- | --- |
|  | (b) Yearly cost at $__________________ |

Part 9 – Supplementary Information

- Number of proposed System Already Installed (leave blank if information is not available)

          - In Hong Kong :	 __________ sets

          - Globally		: __________ sets

- Year of Launch of the Proposed System (leave blank if information is not available)

My/our proposed System was first launched in the market in Year  _____________

- Pre-Installation Requirements of the Proposed System (if any)

(Pre-installation requirements may include any preparation work and provisions that are necessary for the installation of the System, such as the requirements of ceiling mount support, power supply requirements, etc.)

END